## Results
Results : |  | Entries: | 1
File | Description | Sample ID | (Points) | Warnings | Temperature | Thermal Conductivity | Thermal Diffusivity | Specific Heat | Thermal Effusivity | Probing Depth | Temperature Increase | Temperature Drift | Total Temperature Increase | Total to Charac. Time | Time Correction | Mean Deviation | Sensor Resistance | Calc settings
C:\HotDiskTPS_7\Results\01.Zeinab\MACFP\New 2.hotb | test 2_1 | test 2 | (10-200,tc) | Mean Deviation 1.061e-003 K > 1.000e-003 K | 30 | 0.13442 | 0.3123 | 0.43041 | 240.5298 | 9.9968 | 3.2186 | NaN | 5.0383 | 0.60862 | 0.1 | 0.001061 | 14.4801 | Standard Start:10 End:200, Time corr, default heat capacity

## Explanations
Explanations
Results tab
tc | Time correction was ON when calculating
Temp.Incr. | Temperature increase between first selected point -1 and last selected point. Can also be calculated from corresponding values under T-t tab, Temp columns
Temp.Drift | Temperature Drift compensation was ON when calculating. NaN if no drift was measured otherwise True or False
Total/Temp.Incr. | Total temperature increase. Corresponds to the temperature value of the last sample. See T-t tab, Temp columns, last row
Total/Char.Time | Total measurement time divided by characteristic time (optimal measurement time depending on sensor size and sample diffusivity)
Parameters tab
Temp.drift rec. | Temperature Drift Recording (True or False)
T-t tab
Point nr. | Measurement sample number
Time | Sample timestamp in seconds, counted from the first measured sample
Temp | Temperature in °C
T-f(Tau) tab
f(Tau) | Function of time, see X-axle in the graph under Calculated, displayed in the software. For more information see the manual.
Diff tab
Sqrt(Time) | Square root of the timestamp for each sample, in s¹´²
Diff Temp | Difference between measured temperature and theoretical temperature after linearization. The unit is Kelvin

## Parameters
Parameters :
File | Description | SampleID | Temperature | Outp.power | Meas.time | Radius | TCR | Disk Type | Temp.drift rec. | Time | Notes | Miscellaneous | Rs
C:\HotDiskTPS_7\Results\01.Zeinab\MACFP\New 2.hotb | test 2_1 | test 2 | 30 | 50 | 80 | 6.403 | 0.00463 | Kapton 5501 | TRUE | 2026-03-27 09:07 | MACFP-zizi-2 | TPS1500 50Hz Scanning Voltage:0.02V | 6.9632

## T-t
Temperature-time graph :
test 2
test 2_1
Point nr. | Time | Temp
1 | 0.4 | 0.73018
2 | 0.8 | 0.98287
3 | 1.2 | 1.1879
4 | 1.6 | 1.3321
5 | 2 | 1.4526
6 | 2.4 | 1.5543
7 | 2.8 | 1.647
8 | 3.2 | 1.7322
9 | 3.6 | 1.8117
10 | 4 | 1.8858
11 | 4.4 | 1.9556
12 | 4.8 | 2.0215
13 | 5.2 | 2.0841
14 | 5.6 | 2.1435
15 | 6 | 2.2001
16 | 6.4 | 2.2543
17 | 6.8 | 2.3061
18 | 7.2 | 2.3562
19 | 7.6 | 2.4043
20 | 8 | 2.4508
21 | 8.4 | 2.4957
22 | 8.8 | 2.5391
23 | 9.2 | 2.5811
24 | 9.6 | 2.6218
25 | 10 | 2.6614
26 | 10.4 | 2.6999
27 | 10.8 | 2.7371
28 | 11.2 | 2.7734
29 | 11.6 | 2.8086
30 | 12 | 2.8432
31 | 12.4 | 2.8769
32 | 12.8 | 2.91
33 | 13.2 | 2.9424
34 | 13.6 | 2.974
35 | 14 | 3.0048
36 | 14.4 | 3.0346
37 | 14.8 | 3.0638
38 | 15.2 | 3.0925
39 | 15.6 | 3.1209
40 | 16 | 3.1487
41 | 16.4 | 3.1761
42 | 16.8 | 3.2027
43 | 17.2 | 3.2288
44 | 17.6 | 3.2542
45 | 18 | 3.2794
46 | 18.4 | 3.3043
47 | 18.8 | 3.3286
48 | 19.2 | 3.3525
49 | 19.6 | 3.376
50 | 20 | 3.399
51 | 20.4 | 3.4216
52 | 20.8 | 3.444
53 | 21.2 | 3.466
54 | 21.6 | 3.4876
55 | 22 | 3.5087
56 | 22.4 | 3.5293
57 | 22.8 | 3.5498
58 | 23.2 | 3.5702
59 | 23.6 | 3.5904
60 | 24 | 3.6101
61 | 24.4 | 3.6295
62 | 24.8 | 3.6487
63 | 25.2 | 3.6677
64 | 25.6 | 3.6864
65 | 26 | 3.7048
66 | 26.4 | 3.7227
67 | 26.8 | 3.7405
68 | 27.2 | 3.7581
69 | 27.6 | 3.7755
70 | 28 | 3.7927
71 | 28.4 | 3.8096
72 | 28.8 | 3.8264
73 | 29.2 | 3.8428
74 | 29.6 | 3.8592
75 | 30 | 3.8754
76 | 30.4 | 3.8913
77 | 30.8 | 3.907
78 | 31.2 | 3.9223
79 | 31.6 | 3.9378
80 | 32 | 3.9532
81 | 32.4 | 3.9684
82 | 32.8 | 3.9833
83 | 33.2 | 3.9978
84 | 33.6 | 4.0122
85 | 34 | 4.0264
86 | 34.4 | 4.0405
87 | 34.8 | 4.0541
88 | 35.2 | 4.0677
89 | 35.6 | 4.0814
90 | 36 | 4.0951
91 | 36.4 | 4.1089
92 | 36.8 | 4.1223
93 | 37.2 | 4.1356
94 | 37.6 | 4.1485
95 | 38 | 4.1614
96 | 38.4 | 4.1741
97 | 38.8 | 4.187
98 | 39.2 | 4.1994
99 | 39.6 | 4.2115
100 | 40 | 4.2234
101 | 40.4 | 4.2354
102 | 40.8 | 4.2473
103 | 41.2 | 4.2592
104 | 41.6 | 4.2711
105 | 42 | 4.2828
106 | 42.4 | 4.2941
107 | 42.8 | 4.3052
108 | 43.2 | 4.3165
109 | 43.6 | 4.3277
110 | 44 | 4.339
111 | 44.4 | 4.3501
112 | 44.8 | 4.3611
113 | 45.2 | 4.3719
114 | 45.6 | 4.3826
115 | 46 | 4.3932
116 | 46.4 | 4.4037
117 | 46.8 | 4.414
118 | 47.2 | 4.4242
119 | 47.6 | 4.4342
120 | 48 | 4.4441
121 | 48.4 | 4.4538
122 | 48.8 | 4.4639
123 | 49.2 | 4.4739
124 | 49.6 | 4.4837
125 | 50 | 4.4935
126 | 50.4 | 4.5032
127 | 50.8 | 4.5128
128 | 51.2 | 4.5222
129 | 51.6 | 4.5316
130 | 52 | 4.5408
131 | 52.4 | 4.5501
132 | 52.8 | 4.5595
133 | 53.2 | 4.5686
134 | 53.6 | 4.5776
135 | 54 | 4.5867
136 | 54.4 | 4.5956
137 | 54.8 | 4.6046
138 | 55.2 | 4.6134
139 | 55.6 | 4.6222
140 | 56 | 4.6308
141 | 56.4 | 4.6394
142 | 56.8 | 4.6479
143 | 57.2 | 4.6565
144 | 57.6 | 4.665
145 | 58 | 4.6733
146 | 58.4 | 4.6814
147 | 58.8 | 4.6894
148 | 59.2 | 4.6974
149 | 59.6 | 4.7056
150 | 60 | 4.7135
151 | 60.4 | 4.7216
152 | 60.8 | 4.7296
153 | 61.2 | 4.7376
154 | 61.6 | 4.7453
155 | 62 | 4.753
156 | 62.4 | 4.7608
157 | 62.8 | 4.7683
158 | 63.2 | 4.7757
159 | 63.6 | 4.7829
160 | 64 | 4.7903
161 | 64.4 | 4.7978
162 | 64.8 | 4.8053
163 | 65.2 | 4.8126
164 | 65.6 | 4.8198
165 | 66 | 4.8269
166 | 66.4 | 4.834
167 | 66.8 | 4.841
168 | 67.2 | 4.848
169 | 67.6 | 4.8551
170 | 68 | 4.8622
171 | 68.4 | 4.8694
172 | 68.8 | 4.8764
173 | 69.2 | 4.8833
174 | 69.6 | 4.8899
175 | 70 | 4.8968
176 | 70.4 | 4.9037
177 | 70.8 | 4.9104
178 | 71.2 | 4.9171
179 | 71.6 | 4.9235
180 | 72 | 4.9299
181 | 72.4 | 4.9361
182 | 72.8 | 4.9426
183 | 73.2 | 4.949
184 | 73.6 | 4.9556
185 | 74 | 4.9622
186 | 74.4 | 4.969
187 | 74.8 | 4.9754
188 | 75.2 | 4.9816
189 | 75.6 | 4.9877
190 | 76 | 4.9936
191 | 76.4 | 4.9997
192 | 76.8 | 5.0061
193 | 77.2 | 5.0123
194 | 77.6 | 5.0182
195 | 78 | 5.0238
196 | 78.4 | 5.0297
197 | 78.8 | 5.0358
198 | 79.2 | 5.0417
199 | 79.6 | 5.0477
200 | 80 | 5.0536

## T(drift)
Temperature drift graph :
test 2
test 2_1
Point nr. | Time | Temp drift
1 | 0 | -0.042017
2 | 0.4 | -0.03591
3 | 0.8 | -0.040079
4 | 1.2 | -0.055523
5 | 1.6 | -0.053585
6 | 2 | -0.035969
7 | 2.4 | -0.044014
8 | 2.8 | -0.051295
9 | 3.2 | -0.030096
10 | 3.6 | -0.041254
11 | 4 | -0.04143
12 | 4.4 | -0.033443
13 | 4.8 | -0.045893
14 | 5.2 | -0.027394
15 | 5.6 | -0.038435
16 | 6 | -0.043838
17 | 6.4 | -0.037613
18 | 6.8 | -0.033032
19 | 7.2 | -0.036967
20 | 7.6 | -0.032797
21 | 8 | -0.056521
22 | 8.4 | -0.043133
23 | 8.8 | -0.035969
24 | 9.2 | -0.046245
25 | 9.6 | -0.045012
26 | 10 | -0.02299
27 | 10.4 | -0.050062
28 | 10.8 | -0.044953
29 | 11.2 | -0.041078
30 | 11.6 | -0.05611
31 | 12 | -0.067677
32 | 12.4 | -0.052
33 | 12.8 | -0.044718
34 | 13.2 | -0.035969
35 | 13.6 | -0.045599
36 | 14 | -0.051119
37 | 14.4 | -0.03127
38 | 14.8 | -0.04325
39 | 15.2 | -0.047713
40 | 15.6 | -0.045541
41 | 16 | -0.036673
42 | 16.4 | -0.050532
43 | 16.8 | -0.06069
44 | 17.2 | -0.03591
45 | 17.6 | -0.024106
46 | 18 | -0.040021
47 | 18.4 | -0.041547
48 | 18.8 | -0.06251
49 | 19.2 | -0.034677
50 | 19.6 | -0.046128
51 | 20 | -0.044601
52 | 20.4 | -0.026983
53 | 20.8 | -0.056873
54 | 21.2 | -0.048066
55 | 21.6 | -0.040432
56 | 22 | -0.035264
57 | 22.4 | -0.041371
58 | 22.8 | -0.035264
59 | 23.2 | -0.040608
60 | 23.6 | -0.042663
61 | 24 | -0.046832
62 | 24.4 | -0.029039
63 | 24.8 | -0.034912
64 | 25.2 | -0.029978
65 | 25.6 | -0.039433
66 | 26 | -0.030918
67 | 26.4 | -0.027336
68 | 26.8 | -0.040197
69 | 27.2 | -0.041724
70 | 27.6 | -0.033326
71 | 28 | -0.024928
72 | 28.4 | -0.035969
73 | 28.8 | -0.029802
74 | 29.2 | -0.023283
75 | 29.6 | -0.064859
76 | 30 | -0.034912
77 | 30.4 | -0.034853
78 | 30.8 | -0.036556
79 | 31.2 | -0.018702
80 | 31.6 | -0.041195
81 | 32 | -0.036145
82 | 32.4 | -0.036262
83 | 32.8 | -0.02481
84 | 33.2 | -0.036615
85 | 33.6 | -0.044542
86 | 34 | -0.040549
87 | 34.4 | -0.049651
88 | 34.8 | -0.045541
89 | 35.2 | -0.033385
90 | 35.6 | -0.041136
91 | 36 | -0.060397
92 | 36.4 | -0.042604
93 | 36.8 | -0.037143
94 | 37.2 | -0.025691
95 | 37.6 | -0.029978
96 | 38 | -0.03914
97 | 38.4 | -0.023753
98 | 38.8 | -0.053174
99 | 39.2 | -0.028393
100 | 39.6 | -0.067207
| 40 | -0.061042

## T-f(Tau)
Temperature-f(Tau) graph :
test 2
test 2_1
Point nr. | f(Tau) | Temp
1
2
3
4
5
6
7
8
9
10 | 0.1523 | 1.8926
11 | 0.15893 | 1.9612
12 | 0.16519 | 2.0262
13 | 0.17112 | 2.0878
14 | 0.17677 | 2.1464
15 | 0.18216 | 2.2021
16 | 0.18732 | 2.2556
17 | 0.19227 | 2.3068
18 | 0.19704 | 2.3562
19 | 0.20163 | 2.4038
20 | 0.20605 | 2.4497
21 | 0.21033 | 2.4941
22 | 0.21447 | 2.537
23 | 0.21849 | 2.5785
24 | 0.22238 | 2.6188
25 | 0.22616 | 2.658
26 | 0.22983 | 2.6961
27 | 0.23341 | 2.7329
28 | 0.23689 | 2.7688
29 | 0.24028 | 2.8037
30 | 0.24359 | 2.838
31 | 0.24682 | 2.8714
32 | 0.24998 | 2.9042
33 | 0.25306 | 2.9363
34 | 0.25607 | 2.9676
35 | 0.25901 | 2.9982
36 | 0.26189 | 3.0277
37 | 0.26471 | 3.0566
38 | 0.26748 | 3.0851
39 | 0.27019 | 3.1133
40 | 0.27285 | 3.1409
41 | 0.27546 | 3.1681
42 | 0.27801 | 3.1945
43 | 0.28051 | 3.2203
44 | 0.28297 | 3.2455
45 | 0.28539 | 3.2706
46 | 0.28777 | 3.2953
47 | 0.2901 | 3.3194
48 | 0.2924 | 3.3431
49 | 0.29465 | 3.3665
50 | 0.29687 | 3.3893
51 | 0.29905 | 3.4118
52 | 0.30119 | 3.434
53 | 0.30331 | 3.4558
54 | 0.30538 | 3.4772
55 | 0.30743 | 3.4981
56 | 0.30944 | 3.5186
57 | 0.31143 | 3.539
58 | 0.31339 | 3.5593
59 | 0.31532 | 3.5794
60 | 0.31722 | 3.599
61 | 0.31909 | 3.6183
62 | 0.32094 | 3.6374
63 | 0.32276 | 3.6562
64 | 0.32455 | 3.6748
65 | 0.32632 | 3.6931
66 | 0.32807 | 3.7109
67 | 0.32979 | 3.7286
68 | 0.33149 | 3.7461
69 | 0.33317 | 3.7634
70 | 0.33483 | 3.7805
71 | 0.33646 | 3.7974
72 | 0.33808 | 3.814
73 | 0.33968 | 3.8304
74 | 0.34125 | 3.8467
75 | 0.34281 | 3.8628
76 | 0.34434 | 3.8787
77 | 0.34586 | 3.8942
78 | 0.34736 | 3.9095
79 | 0.34885 | 3.9249
80 | 0.35031 | 3.9402
81 | 0.35176 | 3.9554
82 | 0.35319 | 3.9703
83 | 0.3546 | 3.9846
84 | 0.356 | 3.9989
85 | 0.35738 | 4.013
86 | 0.35875 | 4.027
87 | 0.3601 | 4.0406
88 | 0.36144 | 4.0541
89 | 0.36277 | 4.0678
90 | 0.36408 | 4.0816
91 | 0.36538 | 4.0954
92 | 0.36667 | 4.1087
93 | 0.36794 | 4.1219
94 | 0.36918 | 4.1347
95 | 0.37043 | 4.1476
96 | 0.37166 | 4.1603
97 | 0.37287 | 4.1731
98 | 0.37407 | 4.1854
99 | 0.37526 | 4.1974
100 | 0.37644 | 4.2092
101 | 0.37761 | 4.2211
102 | 0.37877 | 4.2331
103 | 0.37992 | 4.245
104 | 0.38106 | 4.2569
105 | 0.38218 | 4.2684
106 | 0.38329 | 4.2797
107 | 0.38439 | 4.2907
108 | 0.38549 | 4.3021
109 | 0.38657 | 4.3133
110 | 0.38765 | 4.3246
111 | 0.38871 | 4.3356
112 | 0.38977 | 4.3466
113 | 0.39081 | 4.3573
114 | 0.39184 | 4.368
115 | 0.39286 | 4.3786
116 | 0.39388 | 4.389
117 | 0.39488 | 4.3993
118 | 0.39588 | 4.4094
119 | 0.39686 | 4.4193
120 | 0.39784 | 4.4291
121 | 0.39881 | 4.4389
122 | 0.39978 | 4.449
123 | 0.40074 | 4.459
124 | 0.40169 | 4.4688
125 | 0.40263 | 4.4787
126 | 0.40356 | 4.4883
127 | 0.40448 | 4.4979
128 | 0.4054 | 4.5073
129 | 0.4063 | 4.5166
130 | 0.4072 | 4.5258
131 | 0.4081 | 4.5351
132 | 0.40899 | 4.5444
133 | 0.40987 | 4.5536
134 | 0.41074 | 4.5626
135 | 0.41161 | 4.5716
136 | 0.41246 | 4.5805
137 | 0.41332 | 4.5895
138 | 0.41416 | 4.5983
139 | 0.415 | 4.6071
140 | 0.41583 | 4.6157
141 | 0.41665 | 4.6243
142 | 0.41747 | 4.6328
143 | 0.41829 | 4.6413
144 | 0.41909 | 4.6498
145 | 0.41989 | 4.658
146 | 0.42068 | 4.6661
147 | 0.42147 | 4.674
148 | 0.42225 | 4.6821
149 | 0.42303 | 4.6902
150 | 0.4238 | 4.6982
151 | 0.42457 | 4.7063
152 | 0.42533 | 4.7143
153 | 0.42609 | 4.7223
154 | 0.42684 | 4.73
155 | 0.42758 | 4.7377
156 | 0.42832 | 4.7454
157 | 0.42904 | 4.7529
158 | 0.42977 | 4.7602
159 | 0.43049 | 4.7674
160 | 0.43121 | 4.7748
161 | 0.43193 | 4.7824
162 | 0.43264 | 4.7899
163 | 0.43334 | 4.7972
164 | 0.43404 | 4.8044
165 | 0.43473 | 4.8115
166 | 0.43541 | 4.8185
167 | 0.4361 | 4.8255
168 | 0.43678 | 4.8325
169 | 0.43746 | 4.8397
170 | 0.43813 | 4.8468
171 | 0.43881 | 4.8541
172 | 0.43946 | 4.861
173 | 0.44012 | 4.8678
174 | 0.44077 | 4.8745
175 | 0.44142 | 4.8814
176 | 0.44206 | 4.8882
177 | 0.4427 | 4.8949
178 | 0.44334 | 4.9016
179 | 0.44396 | 4.908
180 | 0.44459 | 4.9143
181 | 0.44521 | 4.9204
182 | 0.44583 | 4.927
183 | 0.44645 | 4.9334
184 | 0.44708 | 4.9402
185 | 0.44769 | 4.9469
186 | 0.4483 | 4.9536
187 | 0.4489 | 4.96
188 | 0.44948 | 4.9662
189 | 0.45007 | 4.9721
190 | 0.45066 | 4.978
191 | 0.45124 | 4.9841
192 | 0.45184 | 4.9906
193 | 0.45241 | 4.9968
194 | 0.45298 | 5.0027
195 | 0.45355 | 5.0082
196 | 0.45412 | 5.0141
197 | 0.45469 | 5.0202
198 | 0.45526 | 5.0262
199 | 0.45582 | 5.0323
200 | 0.45638 | 5.0383

## Diff
Difference graph :
test 2
test 2_1
Point nr. | sqrt(Time) | Diff.Temp
1
2
3
4
5
6
7
8
9
10 | 2 | -0.0022015
11 | 2.0976 | -0.0020513
12 | 2.1909 | -0.001741
13 | 2.2804 | -0.0014551
14 | 2.3664 | -0.001164
15 | 2.4495 | -0.001088
16 | 2.5298 | -0.00088849
17 | 2.6077 | -0.00087534
18 | 2.6833 | -0.0006363
19 | 2.7568 | -0.0005009
20 | 2.8284 | -0.00024901
21 | 2.8983 | -0.0001264
22 | 2.9665 | 2.2702e-05
23 | 3.0331 | 0.00010695
24 | 3.0984 | 0.00023032
25 | 3.1623 | 0.00031243
26 | 3.2249 | 0.00047132
27 | 3.2863 | 0.00042688
28 | 3.3466 | 0.00036997
29 | 3.4059 | 0.00021496
30 | 3.4641 | 0.00027558
31 | 3.5214 | 0.00037232
32 | 3.5777 | 0.00055891
33 | 3.6332 | 0.00083056
34 | 3.6878 | 0.0010343
35 | 3.7417 | 0.0011602
36 | 3.7947 | 0.00094653
37 | 3.8471 | 0.00075432
38 | 3.8987 | 0.00065204
39 | 3.9497 | 0.00083329
40 | 4 | 0.0010124
41 | 4.0497 | 0.0012692
42 | 4.0988 | 0.001321
43 | 4.1473 | 0.0012438
44 | 4.1952 | 0.0010574
45 | 4.2426 | 0.0011508
46 | 4.2895 | 0.0012959
47 | 4.3359 | 0.0013185
48 | 4.3818 | 0.0013181
49 | 4.4272 | 0.0014151
50 | 4.4721 | 0.0013722
51 | 4.5166 | 0.0012791
52 | 4.5607 | 0.001302
53 | 4.6043 | 0.0013819
54 | 4.6476 | 0.0013333
55 | 4.6904 | 0.001109
56 | 4.7329 | 0.00078999
57 | 4.7749 | 0.00062149
58 | 4.8166 | 0.00067832
59 | 4.858 | 0.00085875
60 | 4.899 | 0.00080429
61 | 4.9396 | 0.00075073
62 | 4.98 | 0.00077472
63 | 5.02 | 0.00085869
64 | 5.0596 | 0.0009247
65 | 5.099 | 0.00091222
66 | 5.1381 | 0.00072542
67 | 5.1769 | 0.00059949
68 | 5.2154 | 0.00050737
69 | 5.2536 | 0.00049692
70 | 5.2915 | 0.00049862
71 | 5.3292 | 0.00042673
72 | 5.3666 | 0.00038715
73 | 5.4037 | 0.00030501
74 | 5.4406 | 0.00031
75 | 5.4772 | 0.00038317
76 | 5.5136 | 0.00034892
77 | 5.5498 | 0.0002571
78 | 5.5857 | 2.2154e-05
79 | 5.6214 | 9.365e-05
80 | 5.6569 | 0.00025765
81 | 5.6921 | 0.0004863
82 | 5.7271 | 0.00055286
83 | 5.7619 | 0.00032055
84 | 5.7965 | 0.00018182
85 | 5.831 | 3.6678e-05
86 | 5.8652 | -5.6643e-05
87 | 5.8992 | -0.00044272
88 | 5.933 | -0.00075041
89 | 5.9666 | -0.00078425
90 | 6 | -0.00061094
91 | 6.0332 | -0.00027117
92 | 6.0663 | -0.00014497
93 | 6.0992 | -4.1611e-05
94 | 6.1319 | -0.00015455
95 | 6.1644 | -0.0001358
96 | 6.1968 | -0.00016124
97 | 6.229 | 8.4642e-05
98 | 6.261 | -2.5476e-05
99 | 6.2929 | -0.00025959
100 | 6.3246 | -0.00062793
101 | 6.3561 | -0.0007665
102 | 6.3875 | -0.00081619
103 | 6.4187 | -0.00078131
104 | 6.4498 | -0.00063006
105 | 6.4807 | -0.00064727
106 | 6.5115 | -0.00087869
107 | 6.5422 | -0.0012264
108 | 6.5727 | -0.0011861
109 | 6.603 | -0.001172
110 | 6.6332 | -0.0010095
111 | 6.6633 | -0.00096665
112 | 6.6933 | -0.00087427
113 | 6.7231 | -0.00087771
114 | 6.7528 | -0.00089367
115 | 6.7823 | -0.0008776
116 | 6.8118 | -0.00092333
117 | 6.8411 | -0.00097854
118 | 6.8702 | -0.0011559
119 | 6.8993 | -0.001393
120 | 6.9282 | -0.0016945
121 | 6.957 | -0.0019769
122 | 6.9857 | -0.001883
123 | 7.0143 | -0.0017992
124 | 7.0427 | -0.0017818
125 | 7.0711 | -0.0016704
126 | 7.0993 | -0.0016249
127 | 7.1274 | -0.0015718
128 | 7.1554 | -0.0016538
129 | 7.1833 | -0.0016605
130 | 7.2111 | -0.001789
131 | 7.2388 | -0.0017349
132 | 7.2664 | -0.0015452
133 | 7.2938 | -0.0014711
134 | 7.3212 | -0.001528
135 | 7.3485 | -0.0014396
136 | 7.3756 | -0.0013621
137 | 7.4027 | -0.0012054
138 | 7.4297 | -0.0011594
139 | 7.4565 | -0.00099626
140 | 7.4833 | -0.0009569
141 | 7.51 | -0.00092149
142 | 7.5366 | -0.00086915
143 | 7.5631 | -0.0007322
144 | 7.5895 | -0.00058822
145 | 7.6158 | -0.00056542
146 | 7.642 | -0.00070155
147 | 7.6681 | -0.0008528
148 | 7.6942 | -0.00092051
149 | 7.7201 | -0.00080052
150 | 7.746 | -0.00079766
151 | 7.7717 | -0.00063893
152 | 7.7974 | -0.0005036
153 | 7.823 | -0.00034165
154 | 7.8486 | -0.00038111
155 | 7.874 | -0.00033828
156 | 7.8994 | -0.00023303
157 | 7.9246 | -0.00025979
158 | 7.9498 | -0.0004114
159 | 7.975 | -0.00069735
160 | 8 | -0.00068049
161 | 8.025 | -0.00055484
162 | 8.0498 | -0.00033142
163 | 8.0747 | -0.0003076
164 | 8.0994 | -0.00032717
165 | 8.124 | -0.00039324
166 | 8.1486 | -0.00040115
167 | 8.1731 | -0.00048531
168 | 8.1976 | -0.00056129
169 | 8.2219 | -0.00040434
170 | 8.2462 | -0.00020762
171 | 8.2704 | 0.00012649
172 | 8.2946 | 0.00028715
173 | 8.3187 | 0.00030923
174 | 8.3427 | 0.00021824
175 | 8.3666 | 0.00043797
176 | 8.3905 | 0.00063742
177 | 8.4143 | 0.00069336
178 | 8.438 | 0.0008297
179 | 8.4617 | 0.00074558
180 | 8.4853 | 0.00059291
181 | 8.5088 | 0.00034396
182 | 8.5323 | 0.00045671
183 | 8.5557 | 0.00048336
184 | 8.579 | 0.00083376
185 | 8.6023 | 0.0011425
186 | 8.6255 | 0.001626
187 | 8.6487 | 0.0018542
188 | 8.6718 | 0.0019403
189 | 8.6948 | 0.0018213
190 | 8.7178 | 0.0016583
191 | 8.7407 | 0.0016891
192 | 8.7636 | 0.0020736
193 | 8.7864 | 0.002284
194 | 8.8091 | 0.0022946
195 | 8.8318 | 0.0019574
196 | 8.8544 | 0.0019693
197 | 8.8769 | 0.002199
198 | 8.8994 | 0.0023627
199 | 8.9219 | 0.002556
200 | 8.9443 | 0.0027794